## BOQ
ArtViSiON
Display counter: Bill of Quantities
Concept v1 · 01-Oct-2026 · 2400 × 650 × 1000 mm, tower to 2000 mm · yellow cells are for your rates · quantities are indicative
Sr | Code | Item | Specification / size | Unit | Qty | Rate (₹) | Amount (₹) | Remarks
STRUCTURE
1 | S1 | Plinth frame | 2300 × 550 × 100 · MS square tube 40×40×2, welded · graphite powder-coat | nos | 1 |  |  | 6 levelling feet M10 (±15 mm); recessed 50 mm all round
2 | S2 | Lower cabinet carcass | 2360 × 620 × 300 · 18 mm BWP / MR plywood | nos | 1 |  |  | Label back-boxes, cable run and LED-driver bay inside
3 | S3 | Body end panel | 650 × 840 · 18 mm ply core · matte white ACP both faces | nos | 2 |  |  | Left and right ends
4 | S4 | Bay divider | 650 × 840 × 20 · 18 mm ply core · brushed silver ACP both faces | nos | 4 |  |  | Doubles as the vitrine side walls
5 | S5 | Vitrine floor deck | 440 / 520 × 450 · 18 mm ply · matte white ACP on top | nos | 5 |  |  | Finished height y = 400 mm
6 | S6 | Vitrine back panel | 440 / 520 × 530 · 12 mm ply · matte white ACP on the front face | nos | 5 |  |  | Separates display from the staff-side storage
7 | S7 | Rear door (staff side) | 432 / 512 × 800 · 18 mm ply · matte white ACP | nos | 5 |  |  | 2 hinges + cylinder lock (keyed alike); flush silver pull
8 | S8 | Top slab | 2440 × 690 × 60 · 25 mm ply core · white ACP top and edges · silver ACP under-band | nos | 1 |  |  | 20 mm overhang all round; houses the vitrine LED ceilings
9 | S9 | Tower frame | 520 × 250 × 1000 · MS box 25×25×1.6, welded · bolted through the top slab | nos | 1 |  |  | Display on VESA plate (per model); vent slots at the back
10 | S10 | Tower cladding set | logo plate 520×190 · column 520×740 · cap 520×70 · White ACP (plate, cap) · brushed silver ACP (column) | set | 1 |  |  | Bezel frame 430 × 740 in black powder-coat
GLASS & ACRYLIC
11 | G1 | Bay glass front | 440 / 520 × 530 × 8 · 8 mm toughened clear glass, polished edges | nos | 5 |  |  | Sits in aluminium U-channel, silicone-set
12 | G2 | Glass channel (top + bottom) | 440 / 520 × 12 · Aluminium U-channel, silver anodised | nos | 10
13 | G3 | Backlit label panel | 436 / 516 × 290 × 12 · 5 mm opal acrylic · backlit film print · white ACP tray | nos | 5 |  |  | Division name, bay letter, press-button hint
14 | G4 | Logo plate face | 500 × 173 · 5 mm opal acrylic · backlit print | nos | 1 |  |  | ArtViSiON lock-up
ELECTRICAL & DIGITAL
15 | E1 | Touch display | 32" portrait · outline ≈ 430 × 740 · Commercial 1080×1920, PCAP touch, 350 nit+ | nos | 1 |  |  | Model to be confirmed, cut-outs follow the real outline
16 | E2 | Mini PC (kiosk player) | compact · Fanless, Windows or ChromeOS, 4 GB+, HDMI + USB | nos | 1 |  |  | Mounted in the tower; runs kiosk.html in Chrome kiosk mode
17 | E3 | Phygital push-button | Ø 30 (hole Ø 25) · Illuminated momentary switch, red LED | nos | 5 |  |  | At bay centre + 170 mm, y = 330; sends keys 1-5
18 | E4 | USB HID encoder | board · 5-input USB keyboard encoder | nos | 1 |  |  | In the tower; maps buttons to keys 1 … 5
19 | E5 | LED strip 4000 K, CRI 90+ | metres (incl. spare) · 24 V, about 6 W/m, aluminium profile + opal diffuser | m | 18 |  |  | Vitrine ceilings, label back-lights, plinth glow, tower halo
20 | E6 | LED driver 24 V / 100 W | unit · Constant-voltage, 0-10 V or timer dimmable | nos | 2 |  |  | Left rear storage, ventilated
21 | E7 | Power distribution | set · 6 A MCB, earthed socket strip, cable glands | set | 1 |  |  | Single 230 V inlet, rear-left of the plinth
ACCESSORIES (OPTIONAL)
22 | A1 | QR standee | 110 × 155 · Acrylic + print (WhatsApp QR) | nos | 1 |  |  | Counter top, left
23 | A2 | Card holder + brochure stand | set · Acrylic / aluminium | set | 1 |  |  | Counter top
24 | A3 | Acrylic “A” monument on turntable | 200 × 200 × 195 · Acrylic letter, red LED edge, slow-turn motor | nos | 1 |  |  | Counter top, right (product 17)
RAW-MATERIAL ROUTE (ALTERNATIVE TO THE PARTS ABOVE, NOT IN THE TOTAL)
25 | M1 | Matte white ACP 4 mm | 1220 × 2440 sheets (9.91 m² net, 12% wastage) | sheet | 4 |  |  | Cut + fold or route-and-bond
26 | M2 | Brushed silver ACP 4 mm | 1220 × 2440 sheets (5.32 m² net, 12% wastage) | sheet | 3
27 | M3 | MS square tube 40×40×2 | plinth frame + tower frame (incl. 25×25 box) | m | 22 |  |  | Powder-coat graphite
28 | M6 | Plywood 18 mm BWP / MR | 1220 × 2440 sheets (estimate) | sheet | 6 |  |  | Hidden carcass
29 | M5 | Backlit film print + opal acrylic | labels + logo plate | m² | 0.75
SERVICES
30 | L1 | Fabrication + assembly labour | workshop | lot | 1
31 | L2 | Transport + installation at site | incl. levelling and commissioning | lot | 1
32 | L3 | Kiosk software set-up | Chrome kiosk mode, auto-start, button mapping | lot | 1 |  |  | kiosk.html supplied
Sub-total
[5 empty] | 18 | GST %
GST
Grand total
Alt. sub-total (raw-material route + services)
The parts list and the raw-material route describe the same counter. Price one of them; only the parts list + services feeds the grand total.

## Bay schedule
ArtViSiON
Bay schedule
Which division and which showroom products live in which bay
Bay | Division | Width (mm) | Services | Button key | Products on display
A | ADVERTiSiNG | 440 | 3 | 1 | Banner (Pole / Fabric), Paper Printing Designs, Video Advertisement LED Display
B | BRANDiNG | 440 | 8 | 2 | ACP Cladding Signage, Arch Gate — Matt ACP, Owl Direction Mascot, Round Double-Sided Translite Box, Totem — 360° Pylon, Vehicle Branding Campaign
C | CREATiVE | 520 | 5 | 3 | Canvas Vector Art, Wall Art & Canvas
D | DESiGNiNG | 440 | 7 | 4 | Sale & Offer Window Display, Backlight Fabric (SEG Lightbox), Offer Standee (Roll-up), FMCG Product Kiosk, Event / Exhibition Stall & Digital Assets
E | EXECUTiON | 440 | 5 | 5 | Acrylic Letters (3D), CNC & Laser Cutting, Large Format Printer
Counter top |  |  |  |  | Acrylic 3D Letters Monument (rotating “A”), QR standee, card holder, brochure stand
Screen only |  |  |  |  | Canopy Design (too large for a vitrine, shown on the touch screen)
All 28 services, 21 products and 11 sectors are on the touch screen; the vitrines show a physical sample of each bay.

## ACP take-off
ArtViSiON
ACP take-off (flat faces)
Areas in m². Wastage 12 %. Sheet size 1220 × 2440 = 2.98 m²
| Colour | Part | Area (m²)
| White | End panels, both faces | 2.184
| White | Vitrine floors | 1.026
| White | Vitrine back panels | 1.208
| White | Rear doors | 1.792
| White | Label trays | 0.93
| White | Top slab, top + edges | 1.984
| White | Tower plate, cap, back | 0.785
| Silver | Bay dividers, both faces | 4.368
| Silver | Tower screen column | 0.821
| Silver | Top under-band, rails | 0.132
White net
Silver net
Total with 12% wastage
|  | Sheets needed (white / silver) | 4 / 3

## Assumptions
ArtViSiON
Assumptions to confirm
Everything in this pack is a concept-stage assumption until you confirm it
1 | Overall size 2400 × 650 × 1000 mm with the tower to 2000 mm — check it against the reception space, door width and lift.
2 | Bays 440 / 440 / 520 / 440 / 440 mm (A–E) with 20 mm dividers. Bay C is wider because it is the centre of the tower.
3 | Screen: 32" portrait commercial touch display with outline ≈ 430 × 740 mm. Cut-outs must be taken from the real unit.
4 | Materials and thicknesses (4 mm ACP, 8 mm glass, 18 mm ply) are typical values — swap to your vendor’s standard stock.
5 | The sample pieces inside the vitrines are illustrative. The studio supplies the real models and prints.
6 | If site access is tight, split the body at dividers into modules (A + B ¦ C ¦ D + E); the tower stays as one piece.
7 | LED colour 4000 K neutral white; brand red is used only as a small accent (buttons, status light, “A” monument).
8 | All quantities are indicative take-offs (flat faces only, 12 % wastage on ACP). Rates are left blank in the BOQ.